{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Z","Vrms"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Z","index":0,"n_rows":47,"n_cols":9,"rows_kept":47,"cut":false,"hidden":false,"merged":[[6,7,6,8],[0,3,0,4],[2,3,2,4],[3,3,3,4],[4,3,4,4],[5,3,5,4],[3,5,3,6],[6,5,6,6],[4,5,4,6],[5,5,5,6],[0,7,0,8],[2,7,2,8],[3,7,3,8],[4,7,4,8],[5,7,5,8],[4,1,4,2],[5,1,5,2],[6,1,6,2],[0,5,0,6],[2,5,2,6],[0,1,0,2],[2,1,2,2],[3,1,3,2],[6,3,6,4]]}
["S000"]
[null,"2023-01-01",null,"2023-01-01",null,"2023-01-01",null,"2023-01-01"]
[null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation"]
[null,"mapping: sdrd orientation",null,"mapping: sdrd orientation",null,"mapping: sdrd orientation",null,"mapping: sdrd orientation"]
[null,"using Intan",null,"using Intan",null,"using Intan",null,"using Intan"]
[null,"in PBS w/ SDS",null,"in PBS w/ SDS",null,"in PBS w/ SDS",null,"in PBS w/ SDS"]
[null,"board: EIB005",null,"board: EIB005",null,"board: EIB005",null,"board: EIB005"]
[null,"Run 1","Run 2","Run 1","Run 2","Run 1","Run 2","Run 1","Run 2"]
[null,"Z","Z","Z","Z","Z","Z","Z","Z"]
["Electrode","(kΩ)","(kΩ)","(kΩ)","(kΩ)","(kΩ)","(kΩ)","(kΩ)","(kΩ)"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
["REF_1"]
["REF_2"]
["REF_3"]
["REF_2"]
[]
["Low Z",{"$f":"COUNTIFS(B11:B38,\">=3\",B11:B38,\"<100\")","v":0},{"$f":"COUNTIFS(C11:C38,\">=3\",C11:C38,\"<100\")","v":0},{"$f":"COUNTIFS(D11:D38,\">=3\",D11:D38,\"<100\")","v":0},0,{"$f":"COUNTIFS(F11:F38,\">=3\",F11:F38,\"<100\")","v":0},0,{"$f":"COUNTIFS(H11:H38,\">=3\",H11:H38,\"<100\")","v":0},0]
["Med Z",{"$f":"COUNTIFS(B11:B38,\">=100\",B11:B38,\"<1000\")","v":0},{"$f":"COUNTIFS(C11:C38,\">=100\",C11:C38,\"<1000\")","v":0},{"$f":"COUNTIFS(D11:D38,\">=100\",D11:D38,\"<1000\")","v":0},0,{"$f":"COUNTIFS(F11:F38,\">=100\",F11:F38,\"<1000\")","v":0},0,{"$f":"COUNTIFS(H11:H38,\">=100\",H11:H38,\"<1000\")","v":0},0]
["High Z",{"$f":"COUNTIFS(B11:B38,\">=1000\")","v":0},0,{"$f":"COUNTIFS(D11:D38,\">=1000\")","v":0},0,{"$f":"COUNTIFS(F11:F38,\">=1000\")","v":0},{"$f":"COUNTIFS(G11:G38,\">=1000\")","v":0},{"$f":"COUNTIFS(H11:H38,\">=1000\")","v":0},0]
["Shorted",{"$f":"COUNTIFS(B11:B38,\"<3\")","v":0},0,{"$f":"COUNTIFS(D11:D38,\"<3\")","v":0},0,{"$f":"COUNTIFS(F11:F38,\"<3\")","v":0},0,{"$f":"COUNTIFS(H11:H38,\"<3\")","v":0},0]

{"sheet":"Vrms","index":1,"n_rows":46,"n_cols":9,"rows_kept":46,"cut":false,"hidden":false,"merged":[[5,7,5,8],[6,7,6,8],[6,1,6,2],[6,3,6,4],[6,5,6,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[3,7,3,8],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,7,4,8],[3,1,3,2],[3,3,3,4],[3,5,3,6],[0,7,0,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[2,7,2,8],[0,1,0,2],[0,3,0,4],[0,5,0,6]]}
["S000"]
[null,"2023-01-01",null,"2023-01-01",null,"2023-01-01",null,"2023-01-01"]
[null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation",null,"sMEA: sdrd orientation"]
[null,"mapping: sdrd orientation",null,"mapping: sdrd orientation",null,"mapping: sdrd orientation",null,"mapping: sdrd orientation"]
[null,"using Intan",null,"using Intan",null,"using Intan",null,"using Intan"]
[null,"in PBS w/ SDS",null,"in PBS w/ SDS",null,"in PBS w/ SDS",null,"in PBS w/ SDS"]
[null,"board: EIB005",null,"board: EIB005",null,"board: EIB005",null,"board: EIB005"]
[null,"Run 1","Run 2","Run 1","Run 2","Run 1","Run 2","Run 1","Run 2"]
[null,"V_rms","V_rms","V_rms","V_rms","V_rms","V_rms","V_rms","V_rms"]
["Electrode","(mV)","(mV)","(mV)","(mV)","(mV)","(mV)","(mV)","(mV)"]
[1]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
["REF_1"]
["REF_2"]
["REF_3"]
["REF_4"]
[]
["Low Vrms",{"$f":"COUNTIFS(B11:B38,\">=0\",B11:B38,\"<5\")","v":0},{"$f":"COUNTIFS(C11:C38,\">=0\",C11:C38,\"<5\")","v":0},0,0,0,0,{"$f":"COUNTIFS(H11:H38,\">=0\",H11:H38,\"<5\")","v":0},0]
["Med Vrms",{"$f":"COUNTIFS(B11:B38,\">=5\",B11:B38,\"<10\")","v":0},0,{"$f":"COUNTIFS(D11:D38,\">=5\",D11:D38,\"<10\")","v":0},0,0,0,{"$f":"COUNTIFS(H11:H38,\">=5\",H11:H38,\"<10\")","v":0},0]
["High Vrms",{"$f":"COUNTIFS(B11:B38,\">=10\")","v":0},0,0,0,{"$f":"COUNTIFS(F11:F38,\">=10\")","v":0},0,{"$f":"COUNTIFS(H11:H38,\">=10\")","v":0},{"$f":"COUNTIFS(I11:I38,\">=10\")","v":0}]